|  |
| --- |
| **Mactrac Pro (SC2) Bed Screen Track** |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Bed screen tracks shall be Mactrac Pro (SC2) 20mm x 16mm bed screen track system, complete with the necessary fittings and components, fixed in strict accordance with the manufacturer’s printed instructions, by approved installers. The complete system shall have a (colour) powdercoat / (colour) anodised finish. All holes and cavities shall be vermin proofed after installation. The glides shall be Mactrac (name) installed to every 100mm of track length in addition to hooks at fixed ends. |
| http://mactrac.co.nz/mactrac/graphics/hrline.gif |
| **Mactrac Pro Plus (SC3) Bed Screen Track** |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Bed screen tracks shall be Mactrac Pro Plus (SC3) 38mm x 20mm bed screen track system, complete with the necessary fittings and components, fixed in strict accordance with the manufacturer’s printed instructions, by approved installers. The complete system shall have a (colour) powdercoat / (colour) anodised finish. All holes and cavities shall be vermin proofed after installation. The glides shall be Mactrac (name) installed to every 100mm of track length in addition to hooks at fixed ends. |
| http://mactrac.co.nz/mactrac/graphics/hrline.gif |
| **Mactrac Ezi-Slide Moveable Bed Screen Track** |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Moveable bed screen track shall be the Mactrac Ezi-Slide mobile track system which is used with Mactrac Pro Plus (SC3) and/or Mactrac IV Track, complete with the necessary fittings and components. It shall be fixed in strict accordance with the manufacturer's printed instructions, by approved installers. |
| http://mactrac.co.nz/mactrac/graphics/hrline.gif |
| **Mactrac Curtain Changing Cassettes** |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Curtain Changing Cassettes shall be Mactrac Pro/Pro Plus cassette systems, complete with the necessary fittings and components, fixed in strict accordance with the manufacturer’s printed instructions, by approved installers. The complete system shall have a (colour) powdercoat / (colour) anodised finish. Mactrac Pro/Pro Plus Loading/Unloading tools shall be provided per every (ten) cassettes installed. |
| http://mactrac.co.nz/mactrac/graphics/hrline.gif |
| **Mactrac IV Track** |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Ceiling Tracks to support Intravenous equipment shall be Mactrac IV track system, complete with the necessary fittings and components, fixed in strict accordance with the manufacturer’s printed instructions, by approved installers. The complete system shall have a (colour) powdercoat /(colour) anodised finish. |
| http://mactrac.co.nz/mactrac/graphics/hrline.gif |
| **Mactrac Stage Track** |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Stage curtain tracks shall be the Mactrac Stage Track system, complete with the necessary fittings and components, fixed in strict accordance with the manufacturer’s printed instructions, by approved installers. |
| http://mactrac.co.nz/mactrac/graphics/hrline.gif |
| **Mactrac Shower Track** |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Shower tracks shall be the Mactrac 20mm x 16mm shower track system, complete with the necessary fittings and components, fixed in strict accordance with the manufacturer’s printed instructions, by approved installers. The complete system shall have a (colour) powdercoat / (colour) anodised finish. |
| http://mactrac.co.nz/mactrac/graphics/hrline.gif |
| **Mactrac Window Curtain Track** |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Window curtain tracks shall be Mactrac complete with the necessary fittings and components, fixed in strict accordance with the manufacturer’s printed instructions, by approved installers. The complete system shall have a (colour) powdercoat / (colour) anodised finish. The glides shall be Mactrac (type) installed to every 100mm of track length in addition to hooks at fixed ends. |
| http://mactrac.co.nz/mactrac/graphics/hrline.gif |

**Specification Templates**

|  |
| --- |
| http://mactrac.co.nz/mactrac/graphics/hrline.gif |
|   | **Components for Mactrac Pro & Mactrac Pro Plus** |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Wall bracket AWB |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Top hanger ferrule THF |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Bottom hanger ferrule BHF |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Hanger rod tube only |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Sloping ceiling bracket SCB |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Junction plate on 90 degree bend |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | 4-way junction plate |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | 3-way junction plate |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Joiner TJC |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | End cap bracket ECB |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Ring glide NRS1 |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Ring glide NRS9 |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Swivel wall bracket SWB |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Ceiling fixing plate CFP |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Ceiling fixing bracket CFB |
| http://mactrac.co.nz/mactrac/graphics/hrline.gif |
|   | **Components for Mactrac Ezi-Slide moveable bed screen track** |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Internal stop for moveable bed screen track |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | SC3/gantry joiner |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Double slider |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Pins and clips |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Moveable bedscreen track end cap bracket GECB |
| http://mactrac.co.nz/mactrac/graphics/hrline.gif |
|   | **Components for Mactrac IV track** |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | IV extension hook fixed height |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Series 3000 IV bottle holder with height adjustment |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | IV hook and slider |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Joining pin |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Join with CFP and pins exposed |
| http://mactrac.co.nz/mactrac/graphics/hrline.gif |
|   | **Components for Mactrac Stage Track** |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Three piece pulley set |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Tension system with heavy duty spring and 4mm cord |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Heavy duty stage master carrier |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Stagetrack end cap |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Stage track glide NG4S |
| http://mactrac.co.nz/mactrac/graphics/hrline.gif |
|   | **Components for Mactrac Shower Track** |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Wall bracket AWB |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Top hanger ferrule THF |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Bottom hanger ferrule BHF |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Sloping ceiling bracket SCB |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Swivel wall bracket |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Hanger rod tube only |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Extra hanger rod complete |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Hanger hook |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | End cap bracket (ECB) |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | NRS9 glide with acetyl hook |
|   |  **Note:**extra components are available on request. |
| http://mactrac.co.nz/mactrac/graphics/hrline.gif |
|   | **Components for Mactrac made to measure curtain track** |
| http://mactrac.co.nz/mactrac/graphics/hrline.gif |
|   | **Glides** |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | NRS1 Nylon ring glide with stainless steel hook |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | NRS2 Nylon ring glide |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | NRS3 Nylon ring glide |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | NRS5 Nylon ring glide |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | NRS6 Nylon snap-in ring glide (fitters glide) |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | NRS7 Nylon ring glide |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | NRS9 Nylon ring glide with acetyl hook |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | NG4 Nylon heavy duty glide |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | NG4S Nylon heavy duty stage glide with stainless steel hook |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | PSHAcetyl S hook |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | SSH Stainless steel hook |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | NES1 Complete, Nylon end stop |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | NES2 Nylon end stop |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | NES3 Complete, Nylon end stop |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | NES4 LH & RH, Nylon end stop |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | NES5 Complete, Nylon end stop |
| http://mactrac.co.nz/mactrac/graphics/hrline.gif |
|   | **Brackets** |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | P2 bracket complete |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | P3 bracket complete |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | P4 bracket complete |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | P5 bracket complete |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | NT1 bracket complete |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | NF2 bracket complete |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Keeper plate only |
| http://mactrac.co.nz/mactrac/graphics/hrline.gif |
|   | **Curtain hooks** |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Standard curtain hooks |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | T Bar curtain hooks |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Pin hook |
| http://mactrac.co.nz/mactrac/graphics/hrline.gif |
|   | **Curtain tapes** |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | 28mm curtain tape |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | 75mm curtain tape |
| http://mactrac.co.nz/mactrac/graphics/hrline.gif |
|   | **Track joiners** |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Joiner for Mactrac Easi-Bend (Mac5) |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Joiner for Mactrac Deluxe (Mac3) |
| http://mactrac.co.nz/mactrac/graphics/hrline.gif |
|   | **Fasteners** |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | M40FAS01 K/plate screw |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | M40FAS02 K/plate screw |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | M40FASSN Spire nut for p bracket |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | M40FAS03 Single pulley screw |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | M40 FAS04 Pulley block screw |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | M40 FASO6 Shower track fixing screw |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | M40FAS07 Shower track grub screw |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | M40FAS08 Shower track rivet |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | M40FAS08W Shower track rivet |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | M40FAS09 Fixing screw |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | M40FAS10 Fixing screw |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | M40FASWSZP Super Screw |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | M40FAS11 Fixing Screw |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | M40FAS12 Fixing Screw |
| http://mactrac.co.nz/mactrac/graphics/hrline.gif |
|   | **Draw cord components** |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Pulley block, LH and RH |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Cord tension weight |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Master carrier only, overlap arm only, underlap arm only, master carrier overlap, master carrier underlap |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Brass single pully  |
| http://mactrac.co.nz/mactrac/graphics/arrow.gif | Polyester cord |